## Slide 1: 90 THz CW Light Modulation
|
|
Wavelength
|
J.T. Green, J.J. Weber, and D. D. Yavuz
University of Wisconsin, Madison
Experimental Setup
Generated Power
Overview
Epump
Estokes
2994 cm-1
This work was funded by NSF and UW-Madison.
105 cm-1
HFC – High-Finesse Cavity, MML – Mode-Matching Lens, ECDL – External Cavity Diode Laser, OSA – Optical Spectrum Analyzer, EOM – Electro-Optical Modulator, PZT – Piezoelectric Transducer
(89.8 Thz)
Eanti-stokes
(Not to Scale)
1560 nm (6410 cm-1)
1064 nm (9398 cm-1)
807 nm (12391 cm-1)
The source of optical modulation in our scheme is vibrational Raman generation in D2 gas. The frequency difference between the ground and first vibrational states in D2 is ~90 THz. By generating coherent Stokes and anti-Stokes beams through this transition we produce optical sidebands 90 THz from the carrier (in this case the pump) frequency. Phase control of these sidebands allows frequency or amplitude modulation of the carrier beam.
The generated coherent spectrum spans nearly an octave of optical bandwidth and thus can be used to create 1.5-cycle optical pulses.
Stokes and anti-Stokes beams are generated at low gas pressures. As low as 76 Torr roughly 68 mW of Stokes power and 40 μW anti-Stokes power are generated for 20 W pump input into the cavity. The anti-Stokes power is significantly lower in part because it is generated in a single pass through the cavity.
Incident power (W)
Stokes, pump power (mW)
Anti-Stokes power (W)
P=380 Torr
Incident power (W)
P=76 Torr
Stokes, pump power (mW)
Anti-Stokes power (W)
Transmitted Pump Beam
Generated Stokes Power
Generated anti-Stokes Power
Time (fs)
Intensity (a. u.)
ECDL
D2
PZT
MML
HFC
Ytterbium
amplifier
Faraday
Isolator
EOM
Photodiode
Faraday
Isolator
glass slide
prism
807 nm
1.06 m
1.56 m
Wavelength (m)
807 nm
1.06 m
1.56 m
Typical OSA Scan
glass slide
OSA
Instrument
Artifacts
An external cavity diode laser tuned to 1064 nm seeds an Ytterbium amplifier which emits a single spatial mode beam at powers up to 20 W. This amplified beam is then locked to the D2-filled optical cavity (finesse ~ 20,000) via the Pound–Drever-Hall technique. The cavity mirrors are reflective at the pump and at the Stokes wavelengths; the anti-Stokes beam is generated in a single pass through the cavity.
Pulse Generation
The inferred pulses shown assume
phase-locked beams with equal amplitudes.
We are now exploring stimulated Raman scattering with liquid nitrogen-cooled D2 . Cooling the molecules improves the modulation efficiency by increasing the ground state population and decreasing the Doppler absorption linewidth.
Current Work:
50 cm
end piece
end piece
end clamps
D2 in
liquid-N2 in
PZT
connections
PZT
liquid-N2 vent
o-ring
The 75 cm optical cavity features a liquid nitrogen reservoir to cool the D2 and custom end clamps that offer precision control of cavity mirror alignment.
Wavelength (μm)
Intensity (arb. units)
Pump
S1
S2
S3
S4
S5
AS1
AS2
Stimulated Raman Spectrum
10 Torr D2 Pressure
Cooled Cavity
Stimulated Raman Spectrum
230 Torr D2 Pressure
At 10 Torr D2 pressure, we generate up to seven rotational sidebands. The generated Raman spectrum includes five Stokes (S) and two anti-Stokes (AS) sidebands over wavelength range of 1020 to 1180 nm. The total average power exceeds 50 mW.
Pump and
Rotational Sidebands
Vibrational Sideband
Instrument Artifact
In addition to the |ν=0, J = 0> → |ν=1, J = 0> vibrational transitions observed at room temperature, in the cooled cavity we observe |ν=0, J = 0> → |ν=0, J = 2> rotational transitions, which correspond to a modulation frequency of 5.4 THz.